## Slide 1: Fiducial Registration 2

## Slide 2: Issues
the use of the least-squares criteria assumes
  identically distributed noise in each point
  isotropic noise in each point
    more accurate (although more complicated) algorithms are available if these criteria are not met
      Matei and Meer, IEEE PAMI, 28(10), Oct 2006

## Slide 3: Characterizing Error
most commonly used noise distribution is the zero-mean Gaussian (or normal) distribution
mean (location)
covariance (spread)
fiducial localization error

## Slide 4: Characterizing Error
in 1D
  standard deviation
  variance

## Slide 5: Characterizing Error
in 2D
  isotropic

## Slide 6: Characterizing Error
in 2D
  anisotropic

## Slide 7: Characterizing Error
in 2D
  anisotropic

## Slide 8: Characterizing Error
in 2D
  anisotropic

## Slide 9: Horn's Method and FLE
Horn's method (and all other ordinary least-squares methods) is optimal when FLE is identical and isotropic
{L}
{R}

## Slide 10: Horn’s Method and FLE
if we assume the measurement noise occurs only in {L}
has same distribution as ni
FLE is independent, isotropic, zero-mean Gaussian
FLE is additive

## Slide 11: Horn’s Method and FLE
what happens if the FLE is in {R}?
what happens if the FLE is in {L} and {R}?